WORKPLACE INSPECTION CHECKLIST – EXTERNAL ENVIRONMENT

Complete the checklist by ticking yes or no for each question.  Use the hazpak matrix or similar to provide a risk rating.  Indicate a suitable control measure when required.

Work Location: ………………………………		Date of assessment: …/…/…

Names of assessor(s):  ……………………………………………………………………………..

| Vehicle parking area and building perimeter | Yes | No | Risk rate | Control Measure/Action by |
| --- | --- | --- | --- | --- |
| Vandal resistant security lights illuminate building perimeter |  |  |  |  |
| Security lights can be set to automatically activate and deactivate or motion sensitive |  |  |  |  |
| Employees/volunteers working after dark have parking available on area close to a building entrance |  |  |  |  |
| Landscaping provides minimal hiding places |  |  |  |  |
| Entrances and exits clearly marked |  |  |  |  |
| Surface of parking area and the driveways free from potholes, cracks and other trip hazards |  |  |  |  |
| Well drained areas to prevent flooding and pooling of water |  |  |  |  |
| Drainage grates in good order |  |  |  |  |
| Direction of traffic well defined |  |  |  |  |
| Traffic and speed restriction signs clearly defined and free from obstructions |  |  |  |  |
| Adequate lighting installed and operational |  |  |  |  |
| Intersections and pedestrian areas identified |  |  |  |  |
| Potential vehicle damage areas, corners, guardrails and entrances effectively marked |  |  |  |  |
| ‘No Parking’ areas signed |  |  |  |  |
| Disabled parking designated and given priority |  |  |  |  |
| Emergency and service vehicle parking designated and given priority |  |  |  |  |
| PEDESTRIAN AREAS |  |  |  |  |
| Continuous clear accessible pathway ie. No barriers |  |  |  |  |
| No raised curbs or changes in pathways |  |  |  |  |
| Surface free of holes and projections |  |  |  |  |
| Adequate illumination of walkways, stairways and ramps |  |  |  |  |
| Anti-slip surfaces, fungus build-up treated |  |  |  |  |
| Steps and changes of level clearly defined |  |  |  |  |
| Emergency entrance and exits clear, well defined and lit |  |  |  |  |
| Waste bins provided and regularly emptied |  |  |  |  |
| BOUNDARIES AND ACCESS POINTS |  |  |  |  |
| Walls, gates and fences in good order without gaps or protrusions |  |  |  |  |
| Signs evident to indicate that security measures are in place |  |  |  |  |
| Childproof locks fitted to gates where needed |  |  |  |  |
| SHADE |  |  |  |  |
| Adequate protection from sun provided |  |  |  |  |
| Sunscreen is accessible for staff and clients who have prolonged exposure to the sun |  |  |  |  |
| Staff are encouraged to wear hats and other protective clothing when working outside |  |  |  |  |
| FIXED CHILDREN’S PLAY EQUIPMENT |  |  |  |  |
| Impact absorbing material under equipment with fall heights of over 0.5m. |  |  |  |  |
| Safe fall zone of impact absorbing material and free from other objects – 2.5m from perimeter of equipment |  |  |  |  |
| Maximum fall height not exceeding 2.5m. |  |  |  |  |
| All accessible fully enclosed spaces over 600mm above ground level are less than 125mm and more than 230mm to avoid head entrapment |  |  |  |  |
| Handrails and grab rails diameter min 19mm, max 38mm |  |  |  |  |
| Guardrails with vertical or solid infill provided for platforms over 1m high |  |  |  |  |
| No protruding bolts, nails or splinters |  |  |  |  |
| Regular checks of equipment |  |  |  |  |
| OTHER |  |  |  |  |
| Assembly area for emergency evacuations clearly marked |  |  |  |  |
| Gardens in good order – debris, fallen branches removed, lawns mown regularly |  |  |  |  |
| Gardens free of sharp objects (broken glass, metal, wood splinters, needles etc) |  |  |  |  |
| Containers provided for smokers (if smoking allowed) |  |  |  |  |
| Storage areas tidy and locked |  |  |  |  |
| Fire hoses well located if provided. Maintained and checked. |  |  |  |  |

Comments: …………………………………………………………………………………………………………………………………………

……………………………………………………………………………………………………………………………………………………………

……………………………………………………………………………………………………………………………………………………………

Signature of assessor(s): ……………………………………………….		……………………………………………………..

Supervisor’s review:  ……………………………………………………….	Date:  …/…/...

The Community Services Safety Pack 2004